**ECG Calculations**

Signals & Systems Project Report

Presented to: Dr. Michael Melek

**A blue and orange logo

Description automatically generated**

|  |  |
| --- | --- |
| أمير أشرف لولى عباس | 9230242 |
| أحمد هشام محمد عبدالمنعم شوشه | 9230103 |

1. Project Objective:

To explore different ideas of Heart Rate Monitoring from an ECG Signal using both Time and frequency Domains.

1. Results:

Code for all required tasks is available at the end with proper comments.

1. Plotting the first 10 seconds of the signal:

A blue line graph with white text

Description automatically generated

Figure First 10 Seconds of ECG Signal (Time Domain)

1. Calculating average BPM from the first 10 seconds segment using time domain:

Method Used:

1. Find the R-Wave peaks in the segment and their time locations using findpeaks() function.
2. Get the difference between each peak location to get the time difference between them using diff() function.
3. Divide 60 by each Time difference to get the BPM.
4. Calculate the average using mean() function.

Notes:

A Max amplitude of 0.8 was chosen for findpeaks() as we noticed the R-waves go to an amplitude of 1.5mV, this amplitude was lowered after filtering (Task D) to around 1.2mV in most of the signal and 1mV or 0.9mV in some parts, so we found 0.8 to be the sweet spot

A minimum distance between peaks of 0.4 Seconds was chosen to realize a maximum Heart Rate of 150 BPM to give a buffer room to calculate higher heart rates even above the normal resting rate (60 to 100 BPM).

Output:

**72.0458 BPM**

1. Plotting the 10-Second Segment in Time-Domain:

A blue line graph with white text

Description automatically generated

Figure First 10 Seconds of ECG Signal (Frequency Domain)

1. Designing a filter to remove the Out of Band Noise

A blue line graph with numbers

Description automatically generatedA blue graph with white text

Description automatically generatedTo design the filter, we plotted the whole signal in frequency domain (figure 4) to get a sense of where the out of band frequencies begin:

Figure The measured approximate end of the signal

Figure Entire Signal in Frequency Domain

We noticed the signal approximately starts ending at 14hz and completely ends at 30hz, so we designed a Butterworth Low Pass Filter accordingly using Matlab’s filter designer tool.




Figure Filter Designer screenshot with filter setup

We then plotted the 10-Second segment of the signal again after filtering.

A blue graph with white text

Description automatically generatedA graph showing a number of blue lines

Description automatically generated

Figure Filtered Frequency Domain Signal

Figure Filtered Time Domain Signal

1. Calculating Time rate from Frequency Domain:

The R-Wave has highest amplitude in the time domain signal; thus its frequency should have the highest peak in the Frequency domain representation, but due to imperfections that is not the case.

Instead, we opted to analyze only the frequencies where the normal heart rate of a human being exist between 0.83Hz and 2.5Hz this allows a range between 50 BPM and 150 BPM to be measured. We then evaluated the frequency that has the maximum amplitude in this range, which is the frequency of the measured heart rate, simply multiplying it by 60 gives us the Beats Per Minute.

Calculated Heart rate: **72 BPM**

Which is near identical to the rate calculated using the time domain signal.

Notes:

In the initial Transformation to the frequency domain using FFT we didn’t specify an FFT Length which prompted the function to use the same length of the given signal, however this results in a limited frequency resolution and gives us big room for error in case of changing the length of the signal ever so slightly or the window size for STFT as we’ll see in Task G.

This value could be increased for better frequency resolution and less room for error, thus resulting in a closer value to the time domain value, but this comes at the cost of computational power, so we opted to leave it as is for this section.

1. Plotting BPM against Time using entire Time Domain Signal:

Using the filter designed in Task D and applying it to the entire signal for a cleaner output free of noise.

We used the same steps in Task B to calculate the BPM without calculating the mean then plotting it against the Locations of each peak to get an accurate representation of when the Heart Rate changes across time.

A graph of a line

Description automatically generatedWe additionally added a smooth() function to the BPM output to get a cleaner graph.

A graph with numbers and lines

Description automatically generated

Figure Showing changes of Heart Rate Across time

Figure Heart Rate Across Time

1. Calculating BPM across time using Frequency Domain:

**Method Used:**

We used the Short Time Fourier Transform to show the change of the spectrum across time. A similar method to the one in Task E was used to calculate the Heart Rate across time.

We Experimented with different: Window Types, Sizes and FFT Lengths.

As discussed earlier changing the window size greatly affected the output, too small window gives a very small frequency resolution obscuring the signal, too big may obscure the signal and make it hard to calculate the heart rate accurately

FFT Lengths as discussed could be used to increase the frequency resolution resulting in a better representation but at the cost of computational power.

**Trial & Error:**

Using the Rectangular Window (Simplest type of window) we tested using different window sizes and FFT Lengths to get the optimum output.

We settled on a Window Size of 5 Seconds and FFT Length of 4 times the Window size, this resulted in an output very close to the time domain output.

A graph with numbers and a line

Description automatically generated

Figure BPM Across time using Windows Size = 5sec and FFT Length = 4\*Window Size

Experimenting with Window Types:

A graph of a line

Description automatically generatedA graph of a line

Description automatically generatedA graph of a computer

Description automatically generated with medium confidenceA graph of a computer

Description automatically generated with medium confidenceWe experimented with 4 types of Window Functions: Rectangular, Triangular, Hanning and Hamming.

Figure Hamming Window Output

Figure Hanning Window Output

Figure Triangular Window Output

As we can see, all windows give almost identical outputs with the exception to the rectangular making a small bump at the beginning of the signal.

Figure Rectangular Window Output

We believe this is due to the chosen method’s focus on only the frequency with the max amplitude between 0.5 to 2.5 Hz which are low frequencies close to the center making them far from the effect of the Window function given the window length.

Final Values:

Window Size = 5 Sec \* Fs = 1800

FFT Length = 4 \* Window Size = 7200

Window Type: Triangular

Since all window types showed similar results, we chose the Triangular window as it produced the closest values to the time domain signal and for having the lowest computational cost.

A graph with numbers and a line

Description automatically generated

Figure Final BPM Across time using Frequency Domain

1. Calculating Abnormal Heart Rate Intervals:
2. Code

Task A:

%% Task a

% Plotting Against Time

clc;

clear;

close all;

load('ecg\_data.mat');

N=length(ecg\_signal); % Number of Signals

Ts=(0:N - 1)/fs; % Calculating Time Period

% Variables to determine starting and ending time

T\_start=0;

T\_end=10;

ecg\_selected\_range=ecg\_signal((T\_start\*fs+1):(T\_end\*fs));

figure(1);

plot(Ts(T\_start\*fs+1:T\_end\*fs), ecg\_selected\_range, 'b')

xlabel('Time (Seconds)');

ylabel('Amplitude (mV)');

title('First 10 Seconds (Time Domain)');

Task B:

%% Task b

% Calculating BPM using time domain in previously selected range

Max\_Amplitude=0.8;

Min\_Distance=0.4;

% Finding Peaks

[peaks, loc]=findpeaks(ecg\_selected\_range,fs,'MinPeakHeight',Max\_Amplitude,'MinPeakDistance',Min\_Distance);

% Calculates the different periods between each Heart Beat in the signal

difference=diff(loc);

average\_BPM=mean(60./difference)

Task C:

%% Task C

% Plotting ECG Signal in Frequency Domain

clc;

close all;

ECG\_SIGNAL\_SELECTED\_RANGE=fft(ecg\_selected\_range); % Converting to Frequencing using FFT

N\_Freq=length(ECG\_SIGNAL\_SELECTED\_RANGE);

Freq=((-N\_Freq/2):((N\_Freq/2)-1))\*fs/N\_Freq; % Shifting X-Axis to be centered around Zero

% Plotiting ECG in Frequencing domain using fftshift

plot(Freq,abs(fftshift(ECG\_SIGNAL\_SELECTED\_RANGE)), 'b')

xlabel('Frequency (Hz)');

ylabel('Amplitude (mV)');

title('First 10 Seconds (Frequency Domain)');

Task D:

%% Task D

% Desigining a filter to remove Out-Of-Band Noise

clc;

close all;

load("Filter\_object.mat") % Loading the Filter

ecg\_filtered=Hd.filter(ecg\_selected\_range); % Applying the filter

% Setting up a tiled layout to view multiple graphs

tiledlayout(2,1);

nexttile;

% Plotting the filtered time domain signal

plot(Ts(T\_start\*fs+1:T\_end\*fs), ecg\_filtered)

xlabel('Time (Seconds)');

ylabel('Amplitude (mV)');

title('First 10 Seconds (Time Domain) Filtered');

% Calculating the filtered signal in Frequency Domain

ECG\_SIGNAL\_SELECTED\_RANGE=fft(ecg\_filtered);

N\_Freq=length(ECG\_SIGNAL\_SELECTED\_RANGE);

Freq=(-N\_Freq/2:N\_Freq/2-1)\*fs/N\_Freq;

% Plotting the filtered frequency domain signal

nexttile;

plot(Freq,abs(fftshift(ECG\_SIGNAL\_SELECTED\_RANGE))/N\_Freq)

xlabel('Frequency (Hz)');

ylabel('Amplitude (mV)');

title('First 10 Seconds (Frequency Domain) Filtered');

Task E:

%% Task E

% Finding BPM using Frequency Domain

clc;

mag\_spectrum=abs(fftshift(ECG\_SIGNAL\_SELECTED\_RANGE)); % Calculating the Magnitude Spectrum

freq\_range=find(Freq>=0.83 & Freq<=2.5); % Selecting the location of range of frequencies of Human Heart Rate

[~,Max\_Loc]=max(mag\_spectrum(freq\_range)); % Finding the locations of where the max amplitude is in the selected frequency range

BPM\_Freq=60\*abs(Freq(freq\_range(Max\_Loc))) % calculating heart beat in the segment

Task F:

%% Task F

% Plot the Heart Rate across time using Time Domain Signal

clc;

close all;

load("Filter\_object.mat")

ecg\_filtered\_all=Hd.filter(ecg\_signal); % Applying Filter

% Calcualting Heart Rate Across Time

[all\_peaks,all\_loc]=findpeaks(ecg\_filtered\_all,fs,'MinPeakHeight',Max\_Amplitude,'MinPeakDistance',Min\_Distance);

dECG=diff(all\_loc);

BPM\_Time=60./dECG;

% Plotting Heart Rate Across Time

plot(all\_loc(1:length(BPM\_Time)),smooth(BPM\_Time))

title("BPM Across Time (Time Domain)");

xlabel('Time (Sec)');

ylabel('Beats Per Minut (BPM)');

Task G:

%% Task G

% Plot the Heart Rate across time using Frequency Domain Signal

clc;

close all;

% Window Setup

window\_length=5\*fs; % Specifying Window Size

FTT\_Length=window\_length\*4; % For FFT Length, Higher for better frequency resolution

window=triang(window\_length); % Type of Window, Hanning for best solution

% Converting to Spectrogram using Short Time Fourier Transform

[ECG\_stft, Freq\_stft, Time\_stft]=stft(ecg\_filtered\_all, fs,"Window",window,"OverlapLength",window\_length/2, "FFTLength",FTT\_Length);

ecg\_spectrogram=abs(ECG\_stft); % Calculating Magnitude Spectrogram

% Selecting the range of frequencies of normal heart rate

Freq\_range\_stft=find(Freq\_stft>=0.83 & Freq\_stft<=2.5);

Freq\_stft\_selected=Freq\_stft(Freq\_range\_stft);

ecg\_spectrogram\_selected\_range = ecg\_spectrogram(Freq\_range\_stft,:);

[~,freq\_locs]=max(ecg\_spectrogram\_selected\_range); % Finding the Frequencies with the highest amplitude across time

BPM\_Freq\_full=60\*Freq\_stft\_selected(freq\_locs); % Calculating the BPM across Time

plot(Time\_stft, BPM\_Freq\_full, 'B');

title("BPM Across Time (STFT)");

xlabel('Time (Sec)');

ylabel('Beats Per Minut (BPM)');

Task H:

%% Task H

% Finding Abnormal Heart Rate intervals

clc;

% Selecting the Interval of Lower than normal Heart Rate

Low\_range=find(BPM\_Time<60);

Low\_interval=all\_loc(Low\_range);

% Selecting the Interval of Higher than normal Heart Rate

High\_range=find(BPM\_Time>100);

High\_interval=all\_loc(High\_range);

% Plotting BPM Across time with highlighting the abnormal parts

plot(all\_loc(1:length(BPM\_Time)),smooth(BPM\_Time),'b')

hold on

plot(High\_interval,smooth(BPM\_Time(High\_range)),'ro')

plot(Low\_interval,smooth(BPM\_Time(Low\_range)),'g+')

legend("BPM Value","Higher than Normal (>100)", "Lower than Normal (<60)")

title("BPM Across Time (Time Domain)");

xlabel('Time (Sec)');

ylabel('Beats Per Minut (BPM)');